## Slide 1: Metrological Traceability

## Slide 2: What is metrology?
Science of exact measurements.
CC-BY-SA 3.0 Axel Hindemith
https://commons.wikimedia.org/wiki/File:Physikalisch-Technische_Bundesanstalt_Hauptsitz_Braunschweig_Eingang.jpg

## Slide 3: What is traceability?
AI
By BIPM - https://www.nist.gov/si-redefinition/kilogram, CC BY-SA 3.0 igo, https://commons.wikimedia.org/w/index.php?curid=117707466
Before 20 May 2019

## Slide 4: What is traceability?
AI
Since 20 May 2019
Planck constant

## Slide 5: SI System
https://www.bipm.org/en/measurement-units/si-promotion CC BY ND 4.0

## Slide 6: Metrological Traceability
SI
Primary standard
Secondary standard
⋮
Measurement
expensive
cheap
slow
fast
few
many
accurate
less accurate

## Slide 7: Primary Standard
For each quantity, there should be a primary standard
  Caesium atomic clocks for frequency / time
  Single electron pumps for current
  Acoustic pressure
  Electric power
  Volume
  Force
  Torque

## Slide 8: Primary setup for ultrasonic pressure
Weber, M., 2019. Primäre Kalibrierung von Ultraschall-Hydrophonen bis 100 MHz. Berichte aus dem Institut für Elektrische Messtechnik und Grundlagen der Elektrotechnik. mensch und buch, Berlin. https://doi.org/10.24355/dbbs.084-201906171147-0
In brief:
Using an interferometer
Measurement of the displacement of the water surface caused by the reflected ultrasonic wave
Calculate the equivalent pressure of the wave

## Slide 9: Automation – Minimizing the human factor
API
IEEE GPIB, Ethernet, NI-VISA
USB / (virtual) Serial Port
I²C, SPI, and other hardware interfaces
Logic IO
Manual operator interaction
AI

## Slide 10: Digital calibration certificate
Hackel, Siegfried, Schönhals, Shanna, Krah, Thomas and Doering, Lutz. "Maschinenlesbares und maschineninterpretierbares digitales Kalibrierzertifikat (DCC) und sein Einsatz in der Praxis" tm - Technisches Messen, vol. 91, no. 1, 2024, pp. 51-62. https://doi.org/10.1515/teme-2022-0117 CC-BY 4.0
Machine (and human) readable format
Digital signature
SI quantities
Format can also be used to transfer results
Notes: 17025 Testing and calibration laboratories

## Slide 11: Uncertainty propagation
Measurements are affected by uncertainties
Primary standards have lowest uncertainty
Comparison against primary standards add further uncertainties
accurate
less accurate
Functional relation
Value

## Slide 12: Advanced methods
Include correlation
Extended number of variables
is abbreviation for
Matrix formulation

## Slide 13
Dr. Martin Weber
Presentation at THWS
14.10.2024
CC BY SA 4.0
https://doi.org/10.5281/zenodo.13923070